Brand: Axcent

Model: APUS x2

Name: Anesthesia Workstation

Description

- Contemporary Design meets sophisticated Technologies - APUS x2 comes with a semi-electronic Flowmeter and a

Features

- 12“ Touch Screen Display.

- 12.1” TFT touch screen.

- User friendly interface design.

- Tidal volume 10 – 1.500 ml.

- Semi-electronic flowmeter.

- Circle system consisting of metal materials.

- Bypass function for soda lime canister.

- All ventilation modes to suit pediatric and adult patients.

- Highly integrated breathing circuit with built-in heater.

- ACGO function to handle open circuits.