Brand: Axcent

Model: Cetus x12

Name: Multi-Parameter Patient Monitor

Description

- Multi-Parameter Patient Monitor with flexible Configuration and reliable Features

Features

- 12.1” color TFT LCD screen

- 8 waveform display, up to 12-lead ECG analysis

- Useful calculation (Hemodynamic, Drug Dose, Oxygenation, Ventilation)

- Pacemaker detection

- ST & arrhythmia analysis

- OxyCRGs screen

- Wired/Wireless CMS, support HL7 protocol to HIS

- SpO2 pulse-tone modulation (Pitch Tone)

- MEWS (Modified Early Warning Score)

- Graphical & tabular trend review (120 hours)

- Rechargeable Lithium-Ion Battery (2.600 mAh)

Configuration:

- ECG, Analog SpO2, NIBP, 2x TEMP, PR, RESP, Li-ion battery

Optional:

Touch-Screen, 12-lead ECG, Digital or Masimo SpO2, 2/4/6 IBP, Cardiac Output, EtCO2 Analyzer, Multi-Gas Analyzer, BIS, NMT, HDMI, Thermal Recorder, Wired/Wireless CMS