INOXY 111

SURGICAL SCRUB UNIT, SINGLE, SENSOR OPERATED

- 304 grade stainless steel main structure

- 1 Unit Battery with photocell

- 1 Unit baticon chamber with photocell

- Hot – cold water input

- Water discharge

- Adjustable legs

|  | TECHNICAL DETAILS |  |
| --- | --- | --- |
|  | Width | : 50 cm |
|  | Lenght | : 60 cm |
|  | Height | : 130 cm |