NOXY 122

Surgical Scrub Unit, Double, Knee Operated

- Description:

- 304 grade stainless steel main structure.

- 2 Batteries.

- Knee controlled Soap (Baticon) and Water.

- Hot – cold water mixer (optional).

- Water discharge.

- Adjustable legs.

- 2 Unit Battery with photocell (optional).

- 1 Unit baticon chamber with photocell (optional).

- Features

- Width : 70 cm

- Length : 140 cm

- Height : 115 cm