INOXY 123

Surgical Scrub Unit, Triple, Knee Operated

- Description:

- 304 grade stainless steel main structure.

- 3 Batteries.

- Knee controlled Soap (Baticon) and Water.

- Hot – cold water mixer (optional).

- Water discharge.

- Anti back-splash design.

- Adjustable legs.

- 3 Unit Battery with photocell (optional).

- 2 Unit baticon chamber with photocell (optional)

- Features:

- Width : 70 cm

- Lenght : 210 cm

- Height : 85 cm

- Overall Height : 115 cm