Brand: Ekingst

Model: Capno-M

Name: Capno-M Mainstream EtCO2 Module

Description

Compact mainstream EtCO2 module designed for accurate real-time CO2 monitoring in anesthesia, ICU, ventilator, and patient monitoring applications.
Supports adult, pediatric, and neonatal patients with fast response time and OEM plug-and-play integration.

Features

- Mainstream EtCO2 monitoring technology

- High accuracy NDIR infrared CO2 measurement

- Plug-and-play OEM integration

- Fast response time (~70 ms)

- Low power consumption

- Automatic pressure compensation

- Adult / Pediatric / Neonatal support

- Reusable airway adapters.

- Compact lightweight design.

- Maintenance-free operation.

Technical Specifications

- CO2 Range: 0–150 mmHg / 0–20 kPa.

- Accuracy: ±2 mmHg (0–40 mmHg) / ±5% to ±10% depending on range.

- Respiration Rate: 2–150 bpm.

- Power Supply: 5V ±5%.

- Power Consumption: <150 mA.

- Warm-up Time: <8 seconds.

- Protection: IPX4 splash-proof.

- Interface: RS-232 communication.

- Operating Temperature: 5°C to 50°C.

Applications

- Patient monitors.

- Anesthesia systems.

- ICU & critical care.

- Ventilators.

- Emergency & transport monitoring .

- OEM medical device integration.