Brand: Ekingst

Model: Capno-T

Name: Capno-T Palm Mainstream Capnograph

Description

Portable palm-size mainstream EtCO2 monitor designed for real-time CO2 and respiration monitoring in emergency, ICU, operating room, transport, and anesthesia applications.

Key Features

- Ultra-compact lightweight handheld design

- Mainstream EtCO2 monitoring technology

- Instant plug-and-play operation

- No calibration required

- First EtCO2 reading within 5 seconds

- Accurate readings within 15 seconds

- Automatic atmospheric pressure compensation

- USB & optional Bluetooth connectivity

- Long-distance clear display visibility

- Durable design for demanding clinical environments

Technical Specifications

- EtCO2 Range: 0–150 mmHg

- Respiration Rate: 3–150 bpm

  - Accuracy: ±2 mmHg (0–40 mmHg) / ±5% to ±10% depending on range.

- Display Size: 1.5 inch

- Battery: Rechargeable lithium battery

- Power Consumption: 5W

- Operating Temperature: 5–40°C

- Humidity: 30–75% non-condensing

- Atmospheric Pressure: 86–106 kPa

- Dimensions: 38 × 42 × 44 mm

- Weight: 80 g

Applications

- Anesthesia

- Operating Room

- ICU & respiratory monitoring

- Emergency & transport monitoring

- Airway positioning and breathing monitoring