DC 44

ELECTRICAL DIALYSIS AND CHEMOTHERAPY CHAIR, 4 MOTORS

- 4 motors for electronic adjustments of backrest, legrest, height, and Trendelenburg functions by hand control unit

- Suitable for Hemodialysis and Chemotherapy sessions

- Anti-microbial, water proof, flame retardant, air permeable and easy cleanable cushion and not effected to skin

- The chair is upholstered by viscoelastic foam which is known as memory foam, is a type of open cell, flexible polyurethane foam. It is body heat and weight sensitive material. It contours to the body shape, distributes the body pressure over a wide area and besides comfortable seating, allows for good blood circulation

- Foam’s capacity let the patient redistribute weight and surface pressure, potentially reducing decubitus ulcers

- ABS covering designed to keep itself in the upholstery and it blocks the dust which goes into the upholstery

- During the back rest movement, arm rests moves with the back rest simultaneously and the arm rests are easy removable

- Easy adjustable and removable upholstered arm rests

- Adjustable and removable cramp support and head support

- Head support provided with cushion for neck support

- 360° swivel, diagonal lockable castors of 125 mm diameter

- Height adjustable IV pole with 2 hooks

- Food / Reading Table (optional)

- Rechargeable Back-up battery (optional)

- Weighing Scale (optional)

- Central brake castors, 125 mm (optional)

- Manual CPR (optional)

- Tablet with holder (optional)

- Reading lamp (optional)

TECHNICAL DETAILS

Backrest Angle	: 0°-70°

Trendelenburg Angle	: 0°-13°

Reverse Trendelenburg Angle	: 0°-(-5)°

Legrest Angle	: 0°-35°

Safe Working Load Capacity	: 180 kg

Weight	: 115 kg

External Dimensions (with Armrest)	: 201 x 105 cm

Bed Surface	: 201 x 65 cm

Height Range	: 55-75 cm

Castor Diameter	: 125 mm

Power In	: Max. 3,15A 100V-240V ~ 50-60 Hz

Electrical Shock Protection	: Class I, Type B

Liquid Ingress Protection	: IP66