OB 35

OVERBED TABLE, HPL TOP

- Epoxy powder coated metal frame

- Height adjustment by gas spring

- U shape sub-frame design enhances stackability

- HPL – compact laminated top table

- 360o swivel, diagonal lockable castors

TECHNICAL DETAILS

External Dimensions	: 38×80 cm

Height Adjustment	: 80×103 cm

HPL Table Dimensions	: 80×38 cm

Castor Diameter	: 50 mm