SB 03

RECLINING CHAIR

SB 03 Reclining chair has been designed with soft lines and rounded edges, without sharp edges and cutting surfaces to avoid any problem with cuts and scratches.

- Strong Construction

- 180 kg safety working capacity.

- Steel construction easy open and close

- Easy to recline

- Fabric or leatherette upholstered surface

- Fabric or leatherette upholstered armrests

- Antibacterial surface to enhance hygiene

- IV Pole (Optional)

- Pushing Handle (Optional)

TECHNICAL DETAILS

External Depth (Chair Position)	: 103 cm

External Width	: 75 cm

External Height	: 82 cm

Lying Surface	: 65×170 cm

Safe Working Load	: 180 kg