GYNEA 3

GYNECOLOGY TABLE, 3 MOTORS

- 3 motors

- Suitable for Gynecological examinations

- Electronic adjustments of backrest, height, Trendelenburg and reverse Trendelenburg functions by hand control unit

- Anti-microbial, water proof, flame retardant, air permeable and easy cleanable mattress

- Removable stainless steel fluid basin

- Lockable, Removable and Adjustable Polyurethane Leg Supports (with belt), Strain Handle

- ABS covered back of table

- ABS covered sub-frame

- Stainless steel accessory rails

- Electrostatic powder coated metal frame

- Paper roll support at backrest

- Removable and adjustable armrest

- Removable foot extension

- Removable and adjustable headrest

TECHNICAL DETAILS

Backrest Angle	: 0°-78°

Trendelenburg Angle	: 0°-13°

Reverse Trendelenburg Angle	: 0°-4°

Safe Working Load Capacity	: 180 kg

Product Weight	: 95 kg

External Dimensions (with extension)	: 70×168 cm

Bed Surface	: 60×168 cm

Height (without mattress)	: 61-81 cm

Mattress Thickness	: 10 cm

Power In	: Max. 3,15A 100V – 240V ~ 50/60 Hz

Electrical Shock Protection	: Class I, Type B

Liquid Ingress Protection	: IPX4