MATERNEUM

ELECTRONIC GYNECOLOGY COUCH

- Three motors

- Electrical backrest, height, and Trendelenburg/Reverse Trendelenburg adjustments

- Electric adjustment system with remote control

- Three sectional ergonomic design

- Consist of back section, pelvis and thighs section

- Electrostatic powder-coated metal frame

- Anti-microbial, waterproof, flame-retardant, and easy-to-clean upholstery

- Stainless steel accessory rails

- Stainless steel fold-down side rails with patient handles

- Easy removable stainless steel fluid basin

- Paper roll support

- Adjustable and lockable polyurethane leg supports with straps

- 4 castors with retractable rolling system brakes fixing floor on 4 rubber caps

- Backrest with gas spring (optional)

- Hydraulic height adjustment (optional)

- Grip handles (optional)

- Footrest (optional)

- Rechargeable battery backup system (optional)

- Foot switch (optional)

- Two-motor version (optional)

TECHNICAL DETAILS

External Length	: 1650 mm

External Width	: 800 mm

Total Lying Surface	: 700 x 1650 mm

Height Range (electrical)	: 525-960 mm

Height Range (hydraulic)	: 485-905 mm

Backrest Angle (electrical)	: 0°-85°

Backrest Angle (gas spring)	: 0°-80°

Trendelenburg Angle	: 0°-16°

Reverse Trendelenburg Angle	: 0°-4°

Upholstery Thickness	: 50 mm

Castor Diameter	: 50 mm

Safe Working Load	: 250 kg