OB 33

OVERBED TABLE, TILTABLE TOP, ALUMINIUM

- Lateral tilting overbed table

- HPL top surface

- Height adjustment by gas spring mechanism.

- 360° swivel and Lockable castors

TECHNICAL DETAILS

External Dimensions	: 480×780 mm

Height Adjustment	: 81×105 cm

HPL Table Dimensions	: 615×405 mm

Castor Diameter	: 50 mm